## 1. Paste from ImageJ
Dot-It-Spot-It Protein Assay |  |  |  | Blackness per pixel (bpp), 16-bit greyscale= 0, 1-65.535 levels
v. 210829
Blackness per pixel = bpp
Reflected light
|  | RESULTS |  | bpp= 65.535-Reflected light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
1 | 1 | 65535 | 1 | 65535 | 65535 | 1
1 | 2 | 65535 | 2 | 65535 | 65535 | 1
1 | 3 | 65535 | 3 | 65535 | 65535 | 1
1 | 4 | 65535 | 4 | 65535 | 65535 | 1
1 | 5 | 65535 | 5 | 65535 | 65535 | 1
1 | 6 | 65535 | 6 | 65535 | 65535 | 1
1 | 7 | 65535 | 7 | 65535 | 65535 | 1
1 | 8 | 65535 | 8 | 65535 | 65535 | 1
1 | 9 | 65535 | 9 | 65535 | 65535 | 1
1 | 10 | 65535 | 10 | 65535 | 65535 | 1
1 | 11 | 65535 | 11 | 65535 | 65535 | 1
1 | 12 | 65535 | 12 | 65535 | 65535 | 1
1 | 13 | 65535 | 13 | 65535 | 65535 | 1
1 | 14 | 65535 | 14 | 65535 | 65535 | 1
1 | 15 | 65535 | 15 | 65535 | 65535 | 1
1 | 16 | 65535 | 16 | 65535 | 65535 | 1
1 | 17 | 65535 | 17 | 65535 | 65535 | 1
1 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
2 | 1 | 65535 | 1 | 65535 | 65535 | 1
2 | 2 | 65535 | 2 | 65535 | 65535 | 1
2 | 3 | 65535 | 3 | 65535 | 65535 | 1
2 | 4 | 65535 | 4 | 65535 | 65535 | 1
2 | 5 | 65535 | 5 | 65535 | 65535 | 1
2 | 6 | 65535 | 6 | 65535 | 65535 | 1
2 | 7 | 65535 | 7 | 65535 | 65535 | 1
2 | 8 | 65535 | 8 | 65535 | 65535 | 1
2 | 9 | 65535 | 9 | 65535 | 65535 | 1
2 | 10 | 65535 | 10 | 65535 | 65535 | 1
2 | 11 | 65535 | 11 | 65535 | 65535 | 1
2 | 12 | 65535 | 12 | 65535 | 65535 | 1
2 | 13 | 65535 | 13 | 65535 | 65535 | 1
2 | 14 | 65535 | 14 | 65535 | 65535 | 1
2 | 15 | 65535 | 15 | 65535 | 65535 | 1
2 | 16 | 65535 | 16 | 65535 | 65535 | 1
2 | 17 | 65535 | 17 | 65535 | 65535 | 1
2 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
3 | 1 | 65535 | 1 | 65535 | 65535 | 1
3 | 2 | 65535 | 2 | 65535 | 65535 | 1
3 | 3 | 65535 | 3 | 65535 | 65535 | 1
3 | 4 | 65535 | 4 | 65535 | 65535 | 1
3 | 5 | 65535 | 5 | 65535 | 65535 | 1
3 | 6 | 65535 | 6 | 65535 | 65535 | 1
3 | 7 | 65535 | 7 | 65535 | 65535 | 1
3 | 8 | 65535 | 8 | 65535 | 65535 | 1
3 | 9 | 65535 | 9 | 65535 | 65535 | 1
3 | 10 | 65535 | 10 | 65535 | 65535 | 1
3 | 11 | 65535 | 11 | 65535 | 65535 | 1
3 | 12 | 65535 | 12 | 65535 | 65535 | 1
3 | 13 | 65535 | 13 | 65535 | 65535 | 1
3 | 14 | 65535 | 14 | 65535 | 65535 | 1
3 | 15 | 65535 | 15 | 65535 | 65535 | 1
3 | 16 | 65535 | 16 | 65535 | 65535 | 1
3 | 17 | 65535 | 17 | 65535 | 65535 | 1
3 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
4 | 1 | 65535 | 1 | 65535 | 65535 | 1
4 | 2 | 65535 | 2 | 65535 | 65535 | 1
4 | 3 | 65535 | 3 | 65535 | 65535 | 1
4 | 4 | 65535 | 4 | 65535 | 65535 | 1
4 | 5 | 65535 | 5 | 65535 | 65535 | 1
4 | 6 | 65535 | 6 | 65535 | 65535 | 1
4 | 7 | 65535 | 7 | 65535 | 65535 | 1
4 | 8 | 65535 | 8 | 65535 | 65535 | 1
4 | 9 | 65535 | 9 | 65535 | 65535 | 1
4 | 10 | 65535 | 10 | 65535 | 65535 | 1
4 | 11 | 65535 | 11 | 65535 | 65535 | 1
4 | 12 | 65535 | 12 | 65535 | 65535 | 1
4 | 13 | 65535 | 13 | 65535 | 65535 | 1
4 | 14 | 65535 | 14 | 65535 | 65535 | 1
4 | 15 | 65535 | 15 | 65535 | 65535 | 1
4 | 16 | 65535 | 16 | 65535 | 65535 | 1
4 | 17 | 65535 | 17 | 65535 | 65535 | 1
4 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
5 | 1 | 65535 | 1 | 65535 | 65535 | 1
5 | 2 | 65535 | 2 | 65535 | 65535 | 1
5 | 3 | 65535 | 3 | 65535 | 65535 | 1
5 | 4 | 65535 | 4 | 65535 | 65535 | 1
5 | 5 | 65535 | 5 | 65535 | 65535 | 1
5 | 6 | 65535 | 6 | 65535 | 65535 | 1
5 | 7 | 65535 | 7 | 65535 | 65535 | 1
5 | 8 | 65535 | 8 | 65535 | 65535 | 1
5 | 9 | 65535 | 9 | 65535 | 65535 | 1
5 | 10 | 65535 | 10 | 65535 | 65535 | 1
5 | 11 | 65535 | 11 | 65535 | 65535 | 1
5 | 12 | 65535 | 12 | 65535 | 65535 | 1
5 | 13 | 65535 | 13 | 65535 | 65535 | 1
5 | 14 | 65535 | 14 | 65535 | 65535 | 1
5 | 15 | 65535 | 15 | 65535 | 65535 | 1
5 | 16 | 65535 | 16 | 65535 | 65535 | 1
5 | 17 | 65535 | 17 | 65535 | 65535 | 1
5 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
6 | 1 | 65535 | 1 | 65535 | 65535 | 1
6 | 2 | 65535 | 2 | 65535 | 65535 | 1
6 | 3 | 65535 | 3 | 65535 | 65535 | 1
6 | 4 | 65535 | 4 | 65535 | 65535 | 1
6 | 5 | 65535 | 5 | 65535 | 65535 | 1
6 | 6 | 65535 | 6 | 65535 | 65535 | 1
6 | 7 | 65535 | 7 | 65535 | 65535 | 1
6 | 8 | 65535 | 8 | 65535 | 65535 | 1
6 | 9 | 65535 | 9 | 65535 | 65535 | 1
6 | 10 | 65535 | 10 | 65535 | 65535 | 1
6 | 11 | 65535 | 11 | 65535 | 65535 | 1
6 | 12 | 65535 | 12 | 65535 | 65535 | 1
6 | 13 | 65535 | 13 | 65535 | 65535 | 1
6 | 14 | 65535 | 14 | 65535 | 65535 | 1
6 | 15 | 65535 | 15 | 65535 | 65535 | 1
6 | 16 | 65535 | 16 | 65535 | 65535 | 1
6 | 17 | 65535 | 17 | 65535 | 65535 | 1
6 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
7 | 1 | 65535 | 1 | 65535 | 65535 | 1
7 | 2 | 65535 | 2 | 65535 | 65535 | 1
7 | 3 | 65535 | 3 | 65535 | 65535 | 1
7 | 4 | 65535 | 4 | 65535 | 65535 | 1
7 | 5 | 65535 | 5 | 65535 | 65535 | 1
7 | 6 | 65535 | 6 | 65535 | 65535 | 1
7 | 7 | 65535 | 7 | 65535 | 65535 | 1
7 | 8 | 65535 | 8 | 65535 | 65535 | 1
7 | 9 | 65535 | 9 | 65535 | 65535 | 1
7 | 10 | 65535 | 10 | 65535 | 65535 | 1
7 | 11 | 65535 | 11 | 65535 | 65535 | 1
7 | 12 | 65535 | 12 | 65535 | 65535 | 1
7 | 13 | 65535 | 13 | 65535 | 65535 | 1
7 | 14 | 65535 | 14 | 65535 | 65535 | 1
7 | 15 | 65535 | 15 | 65535 | 65535 | 1
7 | 16 | 65535 | 16 | 65535 | 65535 | 1
7 | 17 | 65535 | 17 | 65535 | 65535 | 1
7 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
Reflected light
|  | RESULTS |  | bpp= 65.535-Refl. light |  |  | PASTE FROM IMAGEJ
Detection | Sample | Median |  |  |  |  | Mean | Median
SHEET | Position | bpp |  | Median bpp | Mean bpp | Mean/Median
8 | 1 | 65535 | 1 | 65535 | 65535 | 1
8 | 2 | 65535 | 2 | 65535 | 65535 | 1
8 | 3 | 65535 | 3 | 65535 | 65535 | 1
8 | 4 | 65535 | 4 | 65535 | 65535 | 1
8 | 5 | 65535 | 5 | 65535 | 65535 | 1
8 | 6 | 65535 | 6 | 65535 | 65535 | 1
8 | 7 | 65535 | 7 | 65535 | 65535 | 1
8 | 8 | 65535 | 8 | 65535 | 65535 | 1
8 | 9 | 65535 | 9 | 65535 | 65535 | 1
8 | 10 | 65535 | 10 | 65535 | 65535 | 1
8 | 11 | 65535 | 11 | 65535 | 65535 | 1
8 | 12 | 65535 | 12 | 65535 | 65535 | 1
8 | 13 | 65535 | 13 | 65535 | 65535 | 1
8 | 14 | 65535 | 14 | 65535 | 65535 | 1
8 | 15 | 65535 | 15 | 65535 | 65535 | 1
8 | 16 | 65535 | 16 | 65535 | 65535 | 1
8 | 17 | 65535 | 17 | 65535 | 65535 | 1
8 | 18 | 65535 | 18 | 65535 | 65535 | 1
1
The ration Mean / Median can be used to detect if there are minor areas with aberrant bpp.
- The ratio will be higher if there are too many small black spots in the dot.
- The ratio will be lower if there are some white strings in the dot.
A ratio above 1,1, or lower than 0,9 , requires attention. Check the dot to see if you can detect a limited part of the dot, or if you have to reject this result.
Reflected light vs Blackness per pixel (bpp)
The numbers obtained from ImageJ are the measured Reflected light.
These numbers are then converted to Blackness per pixel (bpp) using the formula
bpp = 65.535 - reflected light
(16-bit greyscale= 0, 1-65.535 levels)

## 2. Standard
STANDARD
1. Calculate your mean value
Standard | Standard | repl. 1 | repl. 2 | repl. 3 | repl. 4 | MEAN
ug/mL | ug/mL | bpp | bpp | bpp | bpp | bpp
0 | 0 |  |  |  |  | #DIV/0!
0.2 | 0.1 |  |  |  |  | #DIV/0!
0.6 | 0.3 |  |  |  |  | #DIV/0!
2 | 1 |  |  |  |  | #DIV/0!
6 | 3 |  |  |  |  | #DIV/0!
20 | 10 |  |  |  |  | #DIV/0!
2. Adjust to appropriat format
Note: Image J require dot (.) as decimal separator
Convert decimal separator marker if local system use comma (,) or other
Copy the calculated mean value
Paste special
Replace comma (,) with dot (.) if required
Standard | Standard | MEAN
ug/mL | ug/mL | bpp
0 | 0
0.2 | 0.1
0.6 | 0.3
1.0 | 1.0
3.0 | 3.0
20 | 10
3.Curve fitting in ImageJ
ImageJ: see Analyze - Tools - Curve Fitting
Choose Rodbard in the Curve Fitter
Paste your values and press Fit
For further instructions see "Instruction-for-Protein-Assay-May-2021"

## 3. Concentration
Calulation of concentration using curve fit Rodbard
Fill in the parameters obtained from ImageJ for the dilution curve value ( use , ).
Rodbard curve fit
| a |  |  |  | Curve fitting of the values from the standard curve
| b |  |  | Fill in values obtained from ImageJ | with ImageJ
c
| d |  |  |  | ImageJ: Image processing and analysis in Java
http://rsbweb.nih.gov/ij/
Detection |  | SIGNAL | Conc. |  | see Analyze - Tools - Curve Fitting
Sheet | Sample position | [bpp] | [ug/mL] |  | Rodbard is a four parameter general curve fit function proposed by David
1 | 1 | 65535 | #DIV/0! |  | Rodbard at NIH. The form of the equation is:
1 | 2 | 65535 | #DIV/0! |  | y = d + (a - d) / (1 + (x/c)^b)
1 | 3 | 65535 | #DIV/0!
1 | 4 | 65535 | #DIV/0!
1 | 5 | 65535 | #DIV/0!
1 | 6 | 65535 | #DIV/0!
1 | 7 | 65535 | #DIV/0!
1 | 8 | 65535 | #DIV/0!
1 | 9 | 65535 | #DIV/0!
1 | 10 | 65535 | #DIV/0!
1 | 11 | 65535 | #DIV/0!
1 | 12 | 65535 | #DIV/0!
1 | 13 | 65535 | #DIV/0!
1 | 14 | 65535 | #DIV/0!
1 | 15 | 65535 | #DIV/0!
1 | 16 | 65535 | #DIV/0!
1 | 17 | 65535 | #DIV/0!
1 | 18 | 65535 | #DIV/0!
2 | 1 | 65535 | #DIV/0!
2 | 2 | 65535 | #DIV/0!
2 | 3 | 65535 | #DIV/0!
2 | 4 | 65535 | #DIV/0!
2 | 5 | 65535 | #DIV/0!
2 | 6 | 65535 | #DIV/0!
2 | 7 | 65535 | #DIV/0!
2 | 8 | 65535 | #DIV/0!
2 | 9 | 65535 | #DIV/0!
2 | 10 | 65535 | #DIV/0!
2 | 11 | 65535 | #DIV/0!
2 | 12 | 65535 | #DIV/0!
2 | 13 | 65535 | #DIV/0!
2 | 14 | 65535 | #DIV/0!
2 | 15 | 65535 | #DIV/0!
2 | 16 | 65535 | #DIV/0!
2 | 17 | 65535 | #DIV/0!
2 | 18 | 65535 | #DIV/0!
3 | 1 | 65535 | #DIV/0!
3 | 2 | 65535 | #DIV/0!
3 | 3 | 65535 | #DIV/0!
3 | 4 | 65535 | #DIV/0!
3 | 5 | 65535 | #DIV/0!
3 | 6 | 65535 | #DIV/0!
3 | 7 | 65535 | #DIV/0!
3 | 8 | 65535 | #DIV/0!
3 | 9 | 65535 | #DIV/0!
3 | 10 | 65535 | #DIV/0!
3 | 11 | 65535 | #DIV/0!
3 | 12 | 65535 | #DIV/0!
3 | 13 | 65535 | #DIV/0!
3 | 14 | 65535 | #DIV/0!
3 | 15 | 65535 | #DIV/0!
3 | 16 | 65535 | #DIV/0!
3 | 17 | 65535 | #DIV/0!
3 | 18 | 65535 | #DIV/0!
4 | 1 | 65535 | #DIV/0!
4 | 2 | 65535 | #DIV/0!
4 | 3 | 65535 | #DIV/0!
4 | 4 | 65535 | #DIV/0!
4 | 5 | 65535 | #DIV/0!
4 | 6 | 65535 | #DIV/0!
4 | 7 | 65535 | #DIV/0!
4 | 8 | 65535 | #DIV/0!
4 | 9 | 65535 | #DIV/0!
4 | 10 | 65535 | #DIV/0!
4 | 11 | 65535 | #DIV/0!
4 | 12 | 65535 | #DIV/0!
4 | 13 | 65535 | #DIV/0!
4 | 14 | 65535 | #DIV/0!
4 | 15 | 65535 | #DIV/0!
4 | 16 | 65535 | #DIV/0!
4 | 17 | 65535 | #DIV/0!
4 | 18 | 65535 | #DIV/0!
5 | 1 | 65535 | #DIV/0!
5 | 2 | 65535 | #DIV/0!
5 | 3 | 65535 | #DIV/0!
5 | 4 | 65535 | #DIV/0!
5 | 5 | 65535 | #DIV/0!
5 | 6 | 65535 | #DIV/0!
5 | 7 | 65535 | #DIV/0!
5 | 8 | 65535 | #DIV/0!
5 | 9 | 65535 | #DIV/0!
5 | 10 | 65535 | #DIV/0!
5 | 11 | 65535 | #DIV/0!
5 | 12 | 65535 | #DIV/0!
5 | 13 | 65535 | #DIV/0!
5 | 14 | 65535 | #DIV/0!
5 | 15 | 65535 | #DIV/0!
5 | 16 | 65535 | #DIV/0!
5 | 17 | 65535 | #DIV/0!
5 | 18 | 65535 | #DIV/0!
6 | 1 | 65535 | #DIV/0!
6 | 2 | 65535 | #DIV/0!
6 | 3 | 65535 | #DIV/0!
6 | 4 | 65535 | #DIV/0!
6 | 5 | 65535 | #DIV/0!
6 | 6 | 65535 | #DIV/0!
6 | 7 | 65535 | #DIV/0!
6 | 8 | 65535 | #DIV/0!
6 | 9 | 65535 | #DIV/0!
6 | 10 | 65535 | #DIV/0!
6 | 11 | 65535 | #DIV/0!
6 | 12 | 65535 | #DIV/0!
6 | 13 | 65535 | #DIV/0!
6 | 14 | 65535 | #DIV/0!
6 | 15 | 65535 | #DIV/0!
6 | 16 | 65535 | #DIV/0!
6 | 17 | 65535 | #DIV/0!
6 | 18 | 65535 | #DIV/0!
7 | 1 | 65535 | #DIV/0!
7 | 2 | 65535 | #DIV/0!
7 | 3 | 65535 | #DIV/0!
7 | 4 | 65535 | #DIV/0!
7 | 5 | 65535 | #DIV/0!
7 | 6 | 65535 | #DIV/0!
7 | 7 | 65535 | #DIV/0!
7 | 8 | 65535 | #DIV/0!
7 | 9 | 65535 | #DIV/0!
7 | 10 | 65535 | #DIV/0!
7 | 11 | 65535 | #DIV/0!
7 | 12 | 65535 | #DIV/0!
7 | 13 | 65535 | #DIV/0!
7 | 14 | 65535 | #DIV/0!
7 | 15 | 65535 | #DIV/0!
7 | 16 | 65535 | #DIV/0!
7 | 17 | 65535 | #DIV/0!
7 | 18 | 65535 | #DIV/0!
8 | 1 | 65535 | #DIV/0!
8 | 2 | 65535 | #DIV/0!
8 | 3 | 65535 | #DIV/0!
8 | 4 | 65535 | #DIV/0!
8 | 5 | 65535 | #DIV/0!
8 | 6 | 65535 | #DIV/0!
8 | 7 | 65535 | #DIV/0!
8 | 8 | 65535 | #DIV/0!
8 | 9 | 65535 | #DIV/0!
8 | 10 | 65535 | #DIV/0!
8 | 11 | 65535 | #DIV/0!
8 | 12 | 65535 | #DIV/0!
8 | 13 | 65535 | #DIV/0!
8 | 14 | 65535 | #DIV/0!
8 | 15 | 65535 | #DIV/0!
8 | 16 | 65535 | #DIV/0!
8 | 17 | 65535 | #DIV/0!
8 | 18 | 65535 | #DIV/0!